## Slide 1: COVID-19 Solution Proposal Template
The purpose of this artifact is to serve as a highly-efficient means of communicating your proposed emergency ventilator for COVID-19 field hospitals. Please provide a response to each of the five sections on the next slide. “Stay at the 10,000-foot level” to improve your chances: reviewers need to quickly understand and accurately assess your proposal.
Given the need for speed, you must follow the application template precisely and provide fully-accurate information in each section - submissions that breach the template, change its format or reduce the font size will be rejected without review.
You may edit any black text on the 2nd slide and delete all red text. Do NOT edit white title text.
Step-by-Step: (1) Complete the template on Slide 2. (2) Delete this instruction slide. (3) Save your slide as a PDF. (4) Upload your completed PDF here: https://usg.valideval.com/teams/xTech_covid_vent/signup

## Slide 2
Team Seldon | Simple Open Ventilator | Your logo here
Tech. & Team | Mission Alignment | Technical Viability
What is your solution? Who is behind it? Simple Open Ventilator’s mission goal is to provide design, build, and manufacture instructions that will enable distributed construction of field expedient ventilators using locally obtainable materials. More importantly, it can be constructed by local tradespeople or handy people. No specialty equipment needed. Gravity, flow, hydraulics, and basic tool skills are all you need to build a vent. | Does it meet the posted requirements? MQ-C: 60bpm, 1000mL, and 60mmHg not possible through standard tubing. Will overpressure injuring patient MQ-M: Built with PVC and industrial parts. MQ-EE: Alarms need to be implemented Tech: Science base on simple state machines, gravity, and hydraulics | Does it work? Yes, the initial prototype already works. There is room for improvement. See the video https://www.youtube.com/watch?v=Anu_NY6iPGQ
 | Regulatory | Speed
 | Could it hurt people? Absolutely anything can hurt people. The design here was to enable distributed construction of ventilators with locally available materials. Risks to Deployment 1 - Acquisition – Time to execute and pay 2 – FDA approval for using water potable parts for vent 3 – FDA approval for simple state machine software 4 – Distributed training for testing 5 – Sufficient available parts in supply chain 6 – Good enough user interface / Directions for Hosp Staff | How fast can we produce 10,000 units? Design is purposeful in the ability to substitutee parts with locally available parts. We sourced all parts except microcontroller and relays form Home Depot or Appliance repair shop. System can be manufactured by a plumber and electronics /HVAC tech in about 4-8 hours. It could be then tested in groups at the local hospital. We could have 10k in less than 3 weeks – assuming cash in hand. The ideal deployment would be to send kits out to all Home Improvement shops for local contractors to build.